## Attachment A Page 1
Montana-Dakota Utilities Co.
Electric Utility - South Dakota
Lambda and Capacity Costs
2018
Lambda
|  | On-Peak | Off-Peak | Total
Month |  | $/MWh | $/MWh | $/MWh
January | 2018 |  | 29.67 | 29.67
February | 2018 |  | 22.29 | 22.29
March | 2018 |  | 23.33 | 23.33
April | 2018 |  | 23.29 | 23.29
May | 2018 |  | 21.18 | 21.18
June | 2018 | 21.08 | 19.52 | 19.89
July | 2018 | 27.52 | 26.65 | 26.85
August | 2018 | 33.18 | 28.5 | 29.66
September | 2018 | 27.19 | 27.04 | 27.07
October | 2018 |  | 25.83 | 25.83
November | 2018 |  | 21.51 | 21.51
December | 2018 |  | 28.15 | 28.15
Average |  | 27.24 | 24.75 | 24.89
Monthly Capacity Payments
Rate 96 | 3.459 | $/kW-Month | (Cost of an installed peaking
combustion turbine)

## Attachment A Page 2
Montana-Dakota Utilities Co.
Electric Utility - South Dakota
Calculation of Capacity Payments
2018
Rate 96
| Capital cost of combustion turbine | 904.71 | 1/
| Escalation rate | 3.5%
| Levelized Fixed Charge | 4.588% | 2/
| Monthly Capacity Payments: | 3.459 | $/kW-Month 3/
1/ | Cost of combustion turbine based on Heskett III Station in 2015 dollars of $816 escalated at a rate of 3.5% per year to 2018.
2/ | See Attachment A pages 2-5.
3/ | Rate 96 Capacity Payment formula: = $816 x 1.035^(2018-2015) x .04588 / 12